{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["선택문헌특성(14편)","진단정확도"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"선택문헌특성(14편)","index":0,"n_rows":16,"n_cols":11,"rows_kept":16,"cut":false,"hidden":false,"merged":[[0,8,0,10],[0,0,1,0],[0,6,0,7],[0,1,1,1],[0,2,1,2],[0,3,1,3]]}
["#","Year","1저자","연구수행국가","연구대상자","중재검사","참고표준/ 비교검사",null,"연구결과"]
[null,null,null,null,"정의(대상자 수)","방법/기기","목표질환","방법/기준","진단정확도","상관관계","경과관찰"]
[1,2021,"Berchicci","이탈리아","비쇼그렌 건성안(40안), 이식편대숙주질환(GVHD) (45안)","InflammaDry (Rapid Pathogen Screening, Inc, Sarasota, FL),","DED","OSDI, Tear osmolarity, TBUT, Cornea stain, Conjunctiva stain"," ","○"]
[2,2021,"Lee(이승현)","대한민국","백내장수술 환자(106)","InflammaDry (Quidel, San Diego, CA, USA)","건성안","OSDI"," ","○"]
[3,2021,"Lee(이유현)","대한민국","건성안 증상 (320)","InflammaDry (Quidel Corporation, San Diego, CA, USA)","severity of dry eye","OSDI, VAS, TBUT, Schirmer score, Meibomian gland dysfunction, Conjunctival staining, Corneal staining"," ","○"]
[4,2021,"Ryu","대한민국","건성안 (137)","InflammaDry (Rapid Pathogen Screening, Inc., Sarasota, FL)","-","-"," ",null,"○"]
[5,2021,"Soifer","미국","건성안 (67)","InflammaDry (Quidel Corporation, San Diego, CA)","-","-"," ",null,"○"]
[6,2020,"Jun","대한민국","건성안 (188)","Inflammadry (Quidel Corporation, San Diego, CA, USA)","-","tear meniscus parameter (각 TMH, TMA, TMD), OSDI, tBUT 등"," ","○"]
[7,2018,"Gupta","미국","백내장 평가를 위해 내원한 환자(120)","Inflammadry (Rapid Pathogen Screening, Inc.).","ocular surface dysfunction","Osmolarity, OSDI 또는 SANDE"," ","○"]
[8,2018,"Park","대한민국","건성안 (40), 건강대조군 (20)","InflammaDry (Rapid Pathogen Screening, Inc., Sarasota, FL).","-","-","○","○","○"]
[9,2016,"Chan","홍콩","라식 후 건성안 (14안), 건강대조군 (34안)","InflammaDry (RPS InflammaDry, Sarasota, Florida, USA)","post -LASIK dry eye","staining, OSDI, TBUT, Total MMP-9 (sandwich-ELISA)","○"]
[10,2016,"Messmer","독일","건성안 (47), 건강대조군 (54)","InflammaDry (Rapid Pathogen Screening, Inc, Sarasota, FL)","DED","4개 검사 중 3개 기준 만족시(OSDI, TBUT, Schirmer, staining)","○"]
[11,2016,"Sambursky","미국","건성안 증상 (78)","InflammaDry (RPS Diagnostics; Sarasota, FL, USA) ","-","-"," ",null,"○"]
[12,2015,"Schargus","독일","고령의 잠재적 건성안 (20)","InflammaDry (Rapid Pathogen Screening, Inc, Sarasota, FL)","-","Tear film osmolarity (TearLab Corp), MMP-9 ELISA (quantitative)"," ","○"]
[13,2014,"Sambursky","미국","건성안 의심환자(237)","InflammaDry","dry eye","Schirmer, TBUT, staining, (±OSDI)","○"]
[14,2013,"Sambursky","미국","건성안 의심환자(143), 건강대조군(63)","InflammaDry (Rapid Pathogen Screening, Inc)","dry eye","4개 검사 모두 만족시(OSDI, Schirmer, TBUT, staining)","○"]

{"sheet":"진단정확도","index":1,"n_rows":9,"n_cols":36,"rows_kept":9,"cut":false,"hidden":false,"merged":[[0,2,2,2],[0,1,2,1],[0,7,0,10],[1,22,1,23],[0,11,0,24],[1,3,1,4],[1,5,1,6],[0,3,0,6],[1,7,2,7],[1,8,2,8],[0,25,0,35],[1,9,2,9],[1,10,2,10]]}
[null,"Year","1저자","연구대상자",null,null,null,"검사법",null,null,null,"논문에 보고된 진단정확도",null,null,null,null,null,null,null,null,null,null,null,null,null,"[자동계산] 계산된 진단정확도"]
[null,null,null,"환자군",null,"대조군",null,"분류\n1=중재,\n2=비교","상세","임계값","단위","TP","FP","FN","TN","Sn","Sp","PPV","NPV","LR+","LR-","검사정확도","AUC",null,"ROC","TP","FP","FN","TN","Sn","Sp","PPV","NPV","LR+","LR-","검사정확도"]
[null,null,null,"정의","N","정의","N",null,null,null,null,"N","N","N","N","%","%","%","%","%","%","%","값 ","(95% CI)","값","N","N","N","N"]
[null,2016,"Chan (2016)","post-LASIK dry eyes",14,"normal",34,1,"InflammaDry",40,"ng/mL",8,0,6,34,57.1,null,null,null,null,null,null,null,null,null,8,0,6,34,{"$f":"Z4/(Z4+AB4)","v":0.5714285714285714},{"$f":"AC4/(AA4+AC4)","v":1},{"$f":"Z4/(Z4+AA4)","v":1},{"$f":"AC4/(AB4+AC4)","v":0.85},{"$f":"AD4/(1-AE4)","v":{"$error":"#DIV/0!"}},{"$f":"(1-AD4)/AE4","v":0.4285714285714286},{"$f":"(Z4+AC4)/(Z4+AA4+AB4+AC4)","v":0.875}]
[null,2016,"Chan (2016)","post-LASIK dry eyes",14,"normal",34,2,"Tear film MMP-9 (sandwich-ELISA)",40,"ng/mL",7,"-",7,"-",null,null,null,null,null,null,null,null,null,null,7,"-",7,"-",{"$f":"Z5/(Z5+AB5)","v":0.5}]
[null,2016,"Messmer (2016)","건성안",47,"건강대조군",54,1,"InflammaDry",40,"ng/mL",19,3,28,51,40.4,94.4,null,null,null,null,null,null,null,null,19,3,28,51,{"$f":"Z6/(Z6+AB6)","v":0.40425531914893614},{"$f":"AC6/(AA6+AC6)","v":0.94444444444444442},{"$f":"Z6/(Z6+AA6)","v":0.86363636363636365},{"$f":"AC6/(AB6+AC6)","v":0.64556962025316456},{"$f":"AD6/(1-AE6)","v":7.2765957446808471},{"$f":"(1-AD6)/AE6","v":0.63078848560700873},{"$f":"(Z6+AC6)/(Z6+AA6+AB6+AC6)","v":0.69306930693069302}]
[null,2014,"Sambursky (2014)","건성안(OSDI 포함 4개)",157,"대조군",80,1,"InflammaDry",40,"ng/mL",127,2,30,78,81,98,null,null,null,null,null,null,null,null,{"$f":"E7*P7/100","v":127.17},{"$f":"G7-AC7","v":1.5999999999999943},{"$f":"E7-Z7","v":29.83},{"$f":"G7*Q7/100","v":78.400000000000006},{"$f":"Z7/(Z7+AB7)","v":0.81},{"$f":"AC7/(AA7+AC7)","v":0.98000000000000009},{"$f":"Z7/(Z7+AA7)","v":0.98757474567057557},{"$f":"AC7/(AB7+AC7)","v":0.72438325787674396},{"$f":"AD7/(1-AE7)","v":40.500000000000192},{"$f":"(1-AD7)/AE7","v":0.1938775510204081},{"$f":"(Z7+AC7)/(Z7+AA7+AB7+AC7)","v":0.8673839662447258}]
[null,2014,"Sambursky (2014)","건성안(OSDI 미포함 3개)",146,"대조군",91,1,"InflammaDry",40,"ng/mL",126,3,20,88,86,97,null,null,null,null,null,null,null,null,126,3,20,88,{"$f":"Z8/(Z8+AB8)","v":0.86301369863013699},{"$f":"AC8/(AA8+AC8)","v":0.96703296703296704},{"$f":"Z8/(Z8+AA8)","v":0.97674418604651159},{"$f":"AC8/(AB8+AC8)","v":0.81481481481481477},{"$f":"AD8/(1-AE8)","v":26.178082191780828},{"$f":"(1-AD8)/AE8","v":0.14165628891656287},{"$f":"(Z8+AC8)/(Z8+AA8+AB8+AC8)","v":0.90295358649789026}]
[null,2013,"Sambursky (2013)","건성안",143,"건강대조군",63,1,"InflammaDry",40,"ng/mL",121,4,22,59,85,94,97,73,null,null,null,null,null,null,121,4,22,59,0.84615384615384615,0.93650793650793651,0.96799999999999997,0.72839506172839508,{"$f":"AD9/(1-AE9)","v":13.326923076923077},{"$f":"(1-AD9)/AE9","v":0.16427640156453716},0.87378640776699024]