## 1_효과성
연번 | Ref. ID | Year | 제1저자 | 대조군 | 효과성 결과지표 |  |  |  |  | 중재군 결과 | [7 empty] | 대조군 결과 | [7 empty] | P-value | Difference (90% CI) | 비고
|  |  |  | 구분 | 상세 | 분류 | 측정단위 | 결과측정시점 | 비고 | 중재군명 | 이분형 |  |  |  | 연속형 |  |  | 대조군명 | 이분형 |  |  |  | 연속형
[11 empty] | event | Total | % | 95% CI | mean | SD | n |  | event | Total | % | 95% CI | mean | SD | n
7 | 10976 | 2016 | Vold | 1 | 평균안압 |  | mmHg | baseline |  | 2-Stent group |  |  |  |  | 25.5 | 2.5 | 54 | topical prostaglandin |  |  |  |  | 25.1 | 4.6 | 47
7 | 10976 | 2016 | Vold | 1 | 평균안압 |  | mmHg | m1 |  | 2-Stent group |  |  |  |  | 15.2 |  | 54 | topical prostaglandin |  |  |  |  | 15 |  | 47
7 | 10976 | 2016 | Vold | 1 | 평균안압 |  | mmHg | m3 |  | 2-Stent group |  |  |  |  | 15 |  | 54 | topical prostaglandin |  |  |  |  | 14.4 |  | 47
7 | 10976 | 2016 | Vold | 1 | 평균안압 |  | mmHg | m6 |  | 2-Stent group |  |  |  |  | 14.2 |  | 53 | topical prostaglandin |  |  |  |  | 13.8 | 2 | 47
7 | 10976 | 2016 | Vold | 1 | 평균안압 |  | mmHg | m12 |  | 2-Stent group |  |  |  |  | 13.7 |  | 53 | topical prostaglandin |  |  |  |  | 13.9 |  | 47
7 | 10976 | 2016 | Vold | 1 | 평균안압 |  | mmHg | m18 |  | 2-Stent group |  |  |  |  | 13.5 | 1.4 | 52 | topical prostaglandin |  |  |  |  | 14.6 |  | 47
7 | 10976 | 2016 | Vold | 1 | 평균안압 |  | mmHg | m24 |  | 2-Stent group |  |  |  |  | 13.8 |  | 52 | topical prostaglandin |  |  |  |  | 15 |  | 46
7 | 10976 | 2016 | Vold | 1 | 평균안압 |  | mmHg | m30 |  | 2-Stent group |  |  |  |  | 13.7 |  | 49 | topical prostaglandin |  |  |  |  | 15.4 |  | 45
7 | 10976 | 2016 | Vold | 1 | 평균안압 |  | mmHg | m36 |  | 2-Stent group |  |  |  |  | 14.8 |  | 48 | topical prostaglandin |  |  |  |  | 15.4 |  | 45
7 | 10976 | 2016 | Vold | 1 | 평균안압(약물사용없이) |  | mmHg | baseline |  | 2-Stent group |  |  |  |  | 25.5 |  | 54 | topical prostaglandin |  |  |  |  | 25.1 |  | 47
7 | 10976 | 2016 | Vold | 1 | 평균안압(약물사용없이) |  | mmHg | m1 |  | 2-Stent group |  |  |  |  | 15.2 |  | 54 | topical prostaglandin |  |  |  |  | 15 |  | 47
7 | 10976 | 2016 | Vold | 1 | 평균안압(약물사용없이) |  | mmHg | m3 |  | 2-Stent group |  |  |  |  | 15 |  | 52 | topical prostaglandin |  |  |  |  | 14.1 |  | 44
7 | 10976 | 2016 | Vold | 1 | 평균안압(약물사용없이) |  | mmHg | m6 |  | 2-Stent group |  |  |  |  | 14.2 |  | 50 | topical prostaglandin |  |  |  |  | 13.7 |  | 42
7 | 10976 | 2016 | Vold | 1 | 평균안압(약물사용없이) |  | mmHg | m12 |  | 2-Stent group |  |  |  |  | 13.7 |  | 50 | topical prostaglandin |  |  |  |  | 13.9 |  | 42
7 | 10976 | 2016 | Vold | 1 | 평균안압(약물사용없이) |  | mmHg | m18 |  | 2-Stent group |  |  |  |  | 13.5 |  | 49 | topical prostaglandin |  |  |  |  | 14.5 |  | 42
7 | 10976 | 2016 | Vold | 1 | 평균안압(약물사용없이) |  | mmHg | m24 |  | 2-Stent group |  |  |  |  | 13.8 |  | 47 | topical prostaglandin |  |  |  |  | 15.1 |  | 41
7 | 10976 | 2016 | Vold | 1 | 평균안압(약물사용없이) |  | mmHg | m30 |  | 2-Stent group |  |  |  |  | 13.7 |  | 45 | topical prostaglandin |  |  |  |  | 15.7 |  | 38
7 | 10976 | 2016 | Vold | 1 | 평균안압(약물사용없이) |  | mmHg | m36 |  | 2-Stent group |  |  |  |  | 14.7 |  | 45 | topical prostaglandin |  |  |  |  | 16 |  | 35
7 | 10976 | 2016 | Vold | 1 | 수술후 약물추가 |  | 명 | m1 | 약물종류, 약물사용시 안압정보 있음 | 2-Stent group | 2 | 54 | [5 empty] | topical prostaglandin | 3 | 47
7 | 10976 | 2016 | Vold | 1 | 수술후 약물추가 |  | 명 | m3 |  | 2-Stent group | 1 | 54 | [5 empty] | topical prostaglandin | 2 | 47
7 | 10976 | 2016 | Vold | 1 | 수술후 약물추가 |  | 명 | m18 |  | 2-Stent group | 2 | 54 | [5 empty] | topical prostaglandin | 0 | 47
7 | 10976 | 2016 | Vold | 1 | 수술후 약물추가 |  | 명 | m24 |  | 2-Stent group | 0 | 54 | [5 empty] | topical prostaglandin | 2 | 47
7 | 10976 | 2016 | Vold | 1 | 수술후 약물추가 |  | 명 | m30 |  | 2-Stent group | 0 | 54 | [5 empty] | topical prostaglandin | 3 | 47
7 | 10976 | 2016 | Vold | 1 | 수술후 약물추가 |  | 명 | m36 |  | 2-Stent group | 1 | 54 | [5 empty] | topical prostaglandin | 2 | 47
7 | 10976 | 2016 | Vold | 1 | 수술성공율 | ≤18 | % | m12 | proportion of eyes that had postoperative IOP ≤18 and ≤15 mmHg without additional medical therapy. | 2-Stent group |  | 53 | 94 |  |  |  |  | topical prostaglandin |  | 47 | 89
7 | 10976 | 2016 | Vold | 1 | 수술성공율 | ≤18 | % | m24 |  | 2-Stent group |  | 52 | 90 |  |  |  |  | topical prostaglandin |  | 46 | 87
7 | 10976 | 2016 | Vold | 1 | 수술성공율 | ≤18 | % | m36 |  | 2-Stent group |  | 34 | 91 |  |  |  |  | topical prostaglandin |  | 33 | 79
7 | 10976 | 2016 | Vold | 1 | 수술성공율 | ≤15 | % | m12 |  | 2-Stent group |  | 53 | 75 |  |  |  |  | topical prostaglandin |  | 47 | 72
7 | 10976 | 2016 | Vold | 1 | 수술성공율 | ≤15 | % | m24 |  | 2-Stent group |  | 52 | 81 |  |  |  |  | topical prostaglandin |  | 46 | 46
7 | 10976 | 2016 | Vold | 1 | 수술성공율 | ≤15 | % | m36 |  | 2-Stent group |  | 34 | 62 |  |  |  |  | topical prostaglandin |  | 33 | 21
8 | 10450 | 2019 | Fechtner | 1 | 평균안압 |  | mmHg | m42 |  | 2-Stent group |  |  |  |  | 16.2 |  | 47 | topical prostaglandin |  |  |  |  | 16.1 |  | 41
8 | 10450 | 2019 | Fechtner | 1 | 평균안압 |  | mmHg | m48 |  | 2-Stent group |  |  |  |  | 15.7 |  | 43 | topical prostaglandin |  |  |  |  | 16.1 |  | 39
8 | 10450 | 2019 | Fechtner | 1 | 평균안압 |  | mmHg | m54 |  | 2-Stent group |  |  |  |  | 16.1 |  | 39 | topical prostaglandin |  |  |  |  | 15.9 |  | 34
8 | 10450 | 2019 | Fechtner | 1 | 평균안압 |  | mmHg | m60 |  | 2-Stent group |  |  |  |  | 16.5 | 1.2 | 35 | topical prostaglandin |  |  |  |  | 16.3 | 1.9 | 32
8 | 10450 | 2019 | Fechtner | 1 | 평균안압(약물사용없이) |  | mmHg | m42 |  | 2-Stent group |  |  |  |  | 16.3 |  | 43 | topical prostaglandin |  |  |  |  | 16.7 |  | 29
8 | 10450 | 2019 | Fechtner | 1 | 평균안압(약물사용없이) |  | mmHg | m48 |  | 2-Stent group |  |  |  |  | 16 |  | 34 | topical prostaglandin |  |  |  |  | 16.9 |  | 24
8 | 10450 | 2019 | Fechtner | 1 | 평균안압(약물사용없이) |  | mmHg | m54 |  | 2-Stent group |  |  |  |  | 16.5 |  | 32 | topical prostaglandin |  |  |  |  | 16.5 |  | 21
8 | 10450 | 2019 | Fechtner | 1 | 평균안압(약물사용없이) |  | mmHg | m60 |  | 2-Stent group |  |  |  |  | 16.8 | 1 | 29 | topical prostaglandin |  |  |  |  | 16.9 | 1.1 | 18
8 | 10450 | 2019 | Fechtner | 1 | 평균안압(백내장 수술없는 군) |  | mmHg | baseline |  | 2-Stent group |  |  |  |  | 25.5 | 2.5 |  | topical prostaglandin |  |  |  |  | 25.1 | 4.6
8 | 10450 | 2019 | Fechtner | 1 | 평균안압(백내장 수술없는 군) |  | mmHg | m60 |  | 2-Stent group |  |  |  |  | 16.5 | 1.2 |  | topical prostaglandin |  |  |  |  | 16.3 | 1.9
8 | 10450 | 2019 | Fechtner | 1 | 평균안압(전체) |  | mmHg | m60 |  | 2-Stent group |  |  |  |  | 16.4 | 1.4 |  | topical prostaglandin |  |  |  |  | 16.3 | 1.8
8 | 10450 | 2019 | Fechtner | 1 | 안압감소율(백내장 수술 없는 군) |  | % | m60 | baseline부터 f.u. 5년까지 | 2-Stent group |  |  | 35.3 |  |  |  |  | topical prostaglandin |  |  | 35.1
8 | 10450 | 2019 | Fechtner | 1 | 수술후 약물추가 |  | 명 | m42 |  | 2-Stent group | 5 | 54 | [5 empty] | topical prostaglandin | 3 | 47
8 | 10450 | 2019 | Fechtner | 1 | 수술후 약물추가 |  | 명 | m48 |  | 2-Stent group | 0 | 54 | [5 empty] | topical prostaglandin | 2 | 47
8 | 10450 | 2019 | Fechtner | 1 | 수술후 약물추가 |  | 명 | m54 |  | 2-Stent group | 1 | 54 | [5 empty] | topical prostaglandin | 0 | 47
8 | 10450 | 2019 | Fechtner | 1 | 수술후 약물추가 |  | 명 | m60 |  | 2-Stent group | 0 | 54 | [5 empty] | topical prostaglandin | 1 | 47
8 | 10450 | 2019 | Fechtner | 1 | 수술 후 약물추가가 없는 % |  | % | m60 |  | 2-Stent group | 42 | 54 | 77.7778 |  |  |  |  | topical prostaglandin | 29 | 47 | 61.7021 | [6 empty] | 약물 추가된 사람을 빼서 산출하였음
8 | 10450 | 2019 | Fechtner | 1 | 수술성공율 |  | % | m12 | mean diurnal IOP of 6 to 18 mmHg [inclusive] without the need for add-on medication or secondary glaucoma surgery | 2-Stent group |  | 53 | 94 |  |  |  |  | topical prostaglandin |  | 47 | 89
8 | 10450 | 2019 | Fechtner | 1 | 수술성공율 |  | % | m24 |  | 2-Stent group |  | 52 | 90 |  |  |  |  | topical prostaglandin |  | 46 | 87
8 | 10450 | 2019 | Fechtner | 1 | 수술성공율 |  | % | m36 |  | 2-Stent group |  | 48 | 92 |  |  |  |  | topical prostaglandin |  | 45 | 73
8 | 10450 | 2019 | Fechtner | 1 | 수술성공율 |  | % | m48 |  | 2-Stent group |  | 43 | 79 |  |  |  |  | topical prostaglandin |  | 39 | 56
8 | 10450 | 2019 | Fechtner | 1 | 수술성공율 |  | % | m60 |  | 2-Stent group | 27 | 35 | 77 |  |  |  |  | topical prostaglandin | 17 | 32 | 53
5 | 11171 | 2014 | Fea | 1 | 안압감소율(약물사용없이) | ≥50% | % | m12 |  | Two iStent inject |  | 94 | 53.2 | 42.6, 63.6 |  |  |  | latanoprost/timolol |  | 98 | 35.7 | 26.3, 46.0 |  |  |  | 0.02
5 | 11171 | 2014 | Fea | 1 | 안압감소율(약물사용없이) | ≥40% | % | m12 |  | Two iStent inject |  | 94 | 80.9 | 71.4, 88.2 |  |  |  | latanoprost/timolol |  | 98 | 75.5 | 65.8, 83.6
5 | 11171 | 2014 | Fea | 1 | 안압감소율(약물사용없이) | ≥30% | % | m12 |  | Two iStent inject |  | 94 | 93.6 | 86.6, 97.6 |  |  |  | latanoprost/timolol |  | 98 | 88.8 | 80.8, 94.3
5 | 11171 | 2014 | Fea | 1 | 수술성공율 | ≥20% | % | m12 |  | Two iStent inject | 89 | 94 | 94.7 | 88.0, 98.3 |  |  |  | latanoprost/timolol | 88 | 98 | 91.8 | 84.5, 96.4
5 | 11171 | 2014 | Fea | 1 | 수술성공율 | ≤18 | % | m12 | percentage of subjects who achieved an IOP ≤18 mmHg | Two iStent inject | 87 | 94 | 92.6 | 85.3, 97.0 |  |  |  | latanoprost/timolol | 88 | 98 | 89.8 | 82.0, 95.0
5 | 11171 | 2014 | Fea | 1 | 수술성공율 | ≤15 | % | m12 |  | Two iStent inject |  |  | 85.1 | 76.3, 88.7 |  |  |  | latanoprost/timolol |  |  | 81.6 | 72.5, 88.7
5 | 11171 | 2014 | Fea | 1 | 평균안압 |  | mmHg | baseline |  | Two iStent inject |  |  |  |  | 25.2 | 1.4 | 94 | latanoprost/timolol |  |  |  |  | 24.8 | 1.7 | 98
5 | 11171 | 2014 | Fea | 1 | 평균안압 |  | mmHg | m1 |  | Two iStent inject |  |  |  |  | 13.3 | 4.1 | 93 | latanoprost/timolol |  |  |  |  | 12.8 | 2.6 | 96
5 | 11171 | 2014 | Fea | 1 | 평균안압 |  | mmHg | m3 |  | Two iStent inject |  |  |  |  | 12.8 | 3.2 | 94 | latanoprost/timolol |  |  |  |  | 12.5 | 2.8 | 95
5 | 11171 | 2014 | Fea | 1 | 평균안압 |  | mmHg | m6 |  | Two iStent inject |  |  |  |  | 12.7 | 3.2 | 93 | latanoprost/timolol |  |  |  |  | 12.2 | 2.2 | 91
5 | 11171 | 2014 | Fea | 1 | 평균안압 |  | mmHg | m9 |  | Two iStent inject |  |  |  |  | 12.9 | 2.9 | 94 | latanoprost/timolol |  |  |  |  | 12.8 | 2.9 | 92
5 | 11171 | 2014 | Fea | 1 | 평균안압 |  | mmHg | m12 |  | Two iStent inject |  |  |  |  | 13 | 2.3 | 94 | latanoprost/timolol |  |  |  |  | 13.2 | 2 | 90
5 | 11171 | 2014 | Fea | 1 | 안압변화량△ |  | mmHg | m1 |  | Two iStent inject |  |  |  |  | -11.8 | 4.2 | 93 | latanoprost/timolol |  |  |  |  | -12 | 2.9 | 96
5 | 11171 | 2014 | Fea | 1 | 안압변화량△ |  | mmHg | m3 |  | Two iStent inject |  |  |  |  | -12.4 | 3.4 | 94 | latanoprost/timolol |  |  |  |  | -12.3 | 2.8 | 95
5 | 11171 | 2014 | Fea | 1 | 안압변화량△ |  | mmHg | m6 |  | Two iStent inject |  |  |  |  | -12.5 | 3.2 | 93 | latanoprost/timolol |  |  |  |  | -12.6 | 2.4 | 91
5 | 11171 | 2014 | Fea | 1 | 안압변화량△ |  | mmHg | m9 |  | Two iStent inject |  |  |  |  | -12.3 | 3 | 94 | latanoprost/timolol |  |  |  |  | -11.9 | 2.8 | 92
5 | 11171 | 2014 | Fea | 1 | 안압변화량△ |  | mmHg | m12 |  | Two iStent inject |  |  |  |  | -12.2 | 2.5 | 94 | latanoprost/timolol |  |  |  |  | -11.6 | 2.2 | 90
3 | 11199 | 2011 | Samuelson | 2 | 수술성공율 | ≤21 | % | m12 | Proportion of patients with IOP 21 mmHg without ocular hypotensive medications | iStent with Cataract Surgery | 84 | 117 | 72 | 65, 79 |  |  |  | Cataract Surgery Only | 62 | 123 | 50 | 43, 58 |  |  |  | 0.001
3 | 11199 | 2011 | Samuelson | 2 | 수술성공율 | ≥20% | % | m12 | proportion of patients achieving the secondary efficacy end point of IOP reduction 20% without ocular hypotensive medications at 12 months | iStent with Cataract Surgery | 77 | 117 | 66 | 59, 73 |  |  |  | Cataract Surgery Only | 59 | 123 | 48 | 41, 55 |  |  |  | 0.003
3 | 11199 | 2011 | Samuelson | 2 | 수술성공율 | ≤21 and ≥20% (모두 충족) | % | m12 | proportion of eyes meeting both the primary and secondary outcomes (i.e., IOP 21 mmHg and IOP reduction 20% without anti-glaucoma medications) | iStent with Cataract Surgery | 72 | 103 | 70 |  |  |  |  | Cataract Surgery Only | 55 | 110 | 50
3 | 11199 | 2011 | Samuelson | 2 | 평균약물 사용수 |  | 개수 | baseline |  | iStent with Cataract Surgery |  |  |  |  | 1.6 | 0.8 | 117 | Cataract Surgery Only |  |  |  |  | 1.5 | 0.6 | 123 | 0.451
3 | 11199 | 2011 | Samuelson | 2 | 평균약물 사용수 |  | 개수 | m12 |  | iStent with Cataract Surgery |  |  |  |  | 0.2 | 0.6 | 100 | Cataract Surgery Only |  |  |  |  | 0.4 | 0.7 | 106 | 0.016
3 | 11199 | 2011 | Samuelson | 2 | 평균약물감소량△ |  | mmHg | m12 | from screening | iStent with Cataract Surgery |  |  |  |  | 1.4 | 0.8 |  | Cataract Surgery Only |  |  |  |  | 1 | 0.8 |  | 0.005
3 | 11199 | 2011 | Samuelson | 2 | 약물사용수 | 1개 | 명 | baseline |  | iStent with Cataract Surgery | 71 | 117 | 61 |  |  |  |  | Cataract Surgery Only | 73 | 123 | 59
3 | 11199 | 2011 | Samuelson | 2 | 약물사용수 | 2개 | 명 | baseline |  | iStent with Cataract Surgery | 28 | 117 | 24 |  |  |  |  | Cataract Surgery Only | 41 | 123 | 33
3 | 11199 | 2011 | Samuelson | 2 | 약물사용수 | 3개 | 명 | baseline |  | iStent with Cataract Surgery | 18 | 117 | 15 |  |  |  |  | Cataract Surgery Only | 9 | 123 | 7
3 | 11199 | 2011 | Samuelson | 2 | 약물사용수 | 0개 | 명 | m12 |  | iStent with Cataract Surgery | 85 | 100 | 85 |  |  |  |  | Cataract Surgery Only | 69 | 106 | 65
3 | 11199 | 2011 | Samuelson | 2 | 약물사용수 | 1개 | 명 | m12 |  | iStent with Cataract Surgery | 9 | 100 | 9 |  |  |  |  | Cataract Surgery Only | 30 | 106 | 28
3 | 11199 | 2011 | Samuelson | 2 | 약물사용수 | 2개 | 명 | m12 |  | iStent with Cataract Surgery | 5 | 100 | 5 |  |  |  |  | Cataract Surgery Only | 5 | 106 | 5
3 | 11199 | 2011 | Samuelson | 2 | 약물사용수 | 3개 | 명 | m12 |  | iStent with Cataract Surgery | 1 | 100 | 1 |  |  |  |  | Cataract Surgery Only | 2 | 106 | 2
3 | 11199 | 2011 | Samuelson | 2 | 평균안압변화량△ |  | mmHg | m12 | unmediated baseline과 비교시 | iStent with Cataract Surgery |  |  |  |  | 8.4 | 3.6 | 103 | Cataract Surgery Only |  |  |  |  | 8.5 | 4.3 | 110
3 | 11199 | 2011 | Samuelson | 2 | 평균안압변화량△ |  | mmHg | m12 | mediated screeing과 비교시 | iStent with Cataract Surgery |  |  |  |  | 1.5 | 3 |  | Cataract Surgery Only |  |  |  |  | 1 | 3.3
4 | 9960 | 2012 | Craven | 2 | 수술성공율 | ≤21 | % | m24 | IOP ≤21 mm Hg without medication | iStent with Cataract Surgery | 71 | 116 | 61 | 54, 69 |  |  |  | Cataract Surgery Only | 61 | 123 | 50 | 42, 57 |  |  |  | 0.036 | 12(1, 22) | #11199과 같은 trial
4 | 9960 | 2012 | Craven | 2 | 수술성공율 | ≥20% | % | m24 | IOP reduction ≥20% without medication | iStent with Cataract Surgery | 61 | 116 | 53 | 45, 60 |  |  |  | Cataract Surgery Only | 54 | 123 | 44 | 37, 51 |  |  |  | 0.09 | 9(-2, 19)
4 | 9960 | 2012 | Craven | 2 | 평균안압 |  | mmHg | baseline | After medication washout | iStent with Cataract Surgery |  |  |  |  | 25.4 | 3.6 | 98 | Cataract Surgery Only |  |  |  |  | 25.2 | 3.6 | 101
4 | 9960 | 2012 | Craven | 2 | 평균안압 |  | mmHg | m12 |  | iStent with Cataract Surgery |  |  |  |  | 17 | 2.8 | 98 | Cataract Surgery Only |  |  |  |  | 17 | 3.1 | 101
4 | 9960 | 2012 | Craven | 2 | 평균약물 사용수 |  | 개수 | m12 |  | iStent with Cataract Surgery |  |  |  |  | 0.2 | 0.6 | 98 | Cataract Surgery Only |  |  |  |  | 0.4 | 0.7 | 101 | 0.011 |  | #11199와 같음
4 | 9960 | 2012 | Craven | 2 | 평균안압 |  | mmHg | m24 |  | iStent with Cataract Surgery |  |  |  |  | 17.1 | 2.9 | 98 | Cataract Surgery Only |  |  |  |  | 17.8 | 3.3 | 101
4 | 9960 | 2012 | Craven | 2 | 평균약물 사용수 |  | 개수 | m24 |  | iStent with Cataract Surgery |  |  |  |  | 0.3 | 0.6 | 98 | Cataract Surgery Only |  |  |  |  | 0.5 | 0.7 | 101
4 | 9960 | 2012 | Craven | 2 | 안압변화량△ |  | mmHg | m24 | baseline | iStent with Cataract Surgery |  |  |  |  | 8.4 |  | 98 | Cataract Surgery Only |  |  |  |  | 7.5 |  | 101
9 | 11182 | 2019 | Samuelson | 2 | 수술성공율 |  | % | m24 | a clinically significant (≥20%) reduction in medication-free DIOP from baseline at 24 months | iStent inject with Cataract Surgery | 288 | 380 | 75.8 |  |  |  |  | Cataract Surgery Only | 73 | 118 | 61.9 |  |  |  |  | 0.005
9 | 11182 | 2019 | Samuelson | 2 | 안압변화량△ |  | mmHg | m24 | 24-month DIOP reduction from baseline without medication | iStent inject with Cataract Surgery |  |  |  |  | 7 | 4 | 380 | Cataract Surgery Only |  |  |  |  | 5.4 | 3.7 | 118 | 0.001 | 1.6
9 | 11182 | 2019 | Samuelson | 2 | 평균안압 |  | mmHg | baseline | unmediated | iStent inject with Cataract Surgery |  |  |  |  | 24.83 | 3.34 | 387 | Cataract Surgery Only |  |  |  |  | 24.5 | 3.08 | 118 | 0.328
9 | 11182 | 2019 | Samuelson | 2 | 평균안압 |  | mmHg | m24 | unmediated, did not undergo secondary surgical interventions to lower IOP | iStent inject with Cataract Surgery |  |  |  |  | 17.1 | 3.6 |  | Cataract Surgery Only |  |  |  |  | 17.8 | 3.5
9 | 11182 | 2019 | Samuelson | 2 | 약물사용수 없는 비율 |  | % | m6 | medication-free and did not require additional surgeries | iStent inject with Cataract Surgery |  |  | 81.4 |  |  |  |  | Cataract Surgery Only |  |  | 64.1
9 | 11182 | 2019 | Samuelson | 2 | 안압변화량△ |  | mmHg | m6 |  | iStent inject with Cataract Surgery |  |  |  |  | 9.2 |  |  | Cataract Surgery Only |  |  |  |  | 8.2
9 | 11182 | 2019 | Samuelson | 2 | 약물사용수 없는 비율 |  | % | m12 |  | iStent inject with Cataract Surgery |  |  | 97.5 |  |  |  |  | Cataract Surgery Only |  |  | 92.2
9 | 11182 | 2019 | Samuelson | 2 | 안압변화량△ |  | mmHg | m12 |  | iStent inject with Cataract Surgery |  |  |  |  | 8.5 |  |  | Cataract Surgery Only |  |  |  |  | 7.5
9 | 11182 | 2019 | Samuelson | 2 | 약물사용수 |  | 개수 | pre |  | iStent inject with Cataract Surgery |  |  |  |  | 1.6 | 0.8 |  | Cataract Surgery Only |  |  |  |  | 1.5 | 0.7
9 | 11182 | 2019 | Samuelson | 2 | 약물사용수 |  | 개수 | m23 |  | iStent inject with Cataract Surgery |  |  |  |  | 0.4 | 0.8 |  | Cataract Surgery Only |  |  |  |  | 0.8 | 1
9 | 11182 | 2019 | Samuelson | 2 | 약물사용수 변화량△ |  | 개수 |  |  | iStent inject with Cataract Surgery |  |  |  |  | 1.2 | 1 |  | Cataract Surgery Only |  |  |  |  | 0.8 | 1 |  | 0.001 | 0.4
11 | 11515 | 2021 | Singh | 2 | 수술성공율 | ≥20% | % |  | ≥ 20% reduction in medication-free DIOP from baseline at 24 months | iStent inject with Cataract Surgery |  | 387 | 75.8 |  |  |  |  | Cataract Surgery Only |  | 118 | 61.9 |  |  |  |  | 0.005
11 | 11515 | 2021 | Singh | 2 | 평균안압 |  | mmHg | m24 | without the use of any medications | iStent inject with Cataract Surgery |  |  |  |  | 17.1 |  |  | Cataract Surgery Only
11 | 11515 | 2021 | Singh | 2 | 약물사용수 없는 비율 |  | % | m24 | becoming medication-free at two years | iStent inject with Cataract Surgery |  |  | 84 |  |  |  |  | Cataract Surgery Only |  |  | 67
11 | 11515 | 2021 | Singh | 2 | 수술성공율 | ≥20% | % | m24 | <25mmHg | iStent inject with Cataract Surgery |  | 239 | 75.4 |  |  |  |  | Cataract Surgery Only |  | 76 | 64.5 |  |  |  |  | <0.05
11 | 11515 | 2021 | Singh | 2 | 수술성공율 | ≥20% | % | m24 | ≥25 to <30 | iStent inject with Cataract Surgery |  | 109 | 77.1 |  |  |  |  | Cataract Surgery Only |  | 33 | 63.6 |  |  |  |  | <0.05
11 | 11515 | 2021 | Singh | 2 | 수술성공율 | ≥20% | % | m24 | ≥30 | iStent inject with Cataract Surgery |  | 39 | 74.4 |  |  |  |  | Cataract Surgery Only |  | 9 | 33.3 |  |  |  |  | <0.05
11 | 11515 | 2021 | Singh | 2 | 평균안압 |  | mmHg | m24 | <25mmHg | iStent inject with Cataract Surgery |  | 239 |  |  | 6.2 |  |  | Cataract Surgery Only |  | 76 |  |  | 5.2 |  |  | <0.05
11 | 11515 | 2021 | Singh | 2 | 평균안압 |  | mmHg | m24 | ≥25 to <30 | iStent inject with Cataract Surgery |  | 109 |  |  | 7.8 |  |  | Cataract Surgery Only |  | 33 |  |  | 5.8 |  |  | <0.05
11 | 11515 | 2021 | Singh | 2 | 평균안압 |  | mmHg | m24 | ≥30 | iStent inject with Cataract Surgery |  | 39 |  |  | 9.8 |  |  | Cataract Surgery Only |  | 9 |  |  | 5.4 |  |  | <0.05
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout <26 | mmHg | baseline | IOP washout | iStent with Cataract Surgery |  |  |  |  | 22.04 | 1.64 | 28 | Cataract Surgery Only |  |  |  |  | 20.93 | 1.28 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout <26 | mmHg | d1 |  | iStent with Cataract Surgery |  |  |  |  | 17.14 | 5.39 | 28 | Cataract Surgery Only |  |  |  |  | 16.72 | 2.99 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout <26 | mmHg | d7 |  | iStent with Cataract Surgery |  |  |  |  | 17.18 | 2.55 | 28 | Cataract Surgery Only |  |  |  |  | 16.03 | 3.06 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout <26 | mmHg | m1 |  | iStent with Cataract Surgery |  |  |  |  | 16.46 | 2.35 | 28 | Cataract Surgery Only |  |  |  |  | 16.48 | 2.13 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout <26 | mmHg | m3 |  | iStent with Cataract Surgery |  |  |  |  | 15.64 | 2.5 | 28 | Cataract Surgery Only |  |  |  |  | 16.45 | 2.86 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout <26 | mmHg | m6 |  | iStent with Cataract Surgery |  |  |  |  | 14.61 | 2.02 | 28 | Cataract Surgery Only |  |  |  |  | 16.28 | 2.52 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout <26 | mmHg | m12 |  | iStent with Cataract Surgery |  |  |  |  | 16 | 2 | 28 | Cataract Surgery Only |  |  |  |  | 16.41 | 1.97 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout <26 | mmHg | m24 |  | iStent with Cataract Surgery |  |  |  |  | 15.57 | 2.13 | 28 | Cataract Surgery Only |  |  |  |  | 16.79 | 2.5 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout ≥26 | mmHg | baseline | IOP washout | iStent with Cataract Surgery |  |  |  |  | 26.63 | 1.09 | 16 | Cataract Surgery Only |  |  |  |  | 26 | 0 | 9
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout ≥26 | mmHg | d1 |  | iStent with Cataract Surgery |  |  |  |  | 17.31 | 4.66 | 16 | Cataract Surgery Only |  |  |  |  | 22.14 | 6.26 | 9
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout ≥26 | mmHg | d7 |  | iStent with Cataract Surgery |  |  |  |  | 18.75 | 5.89 | 16 | Cataract Surgery Only |  |  |  |  | 19.86 | 4.45 | 9
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout ≥26 | mmHg | m1 |  | iStent with Cataract Surgery |  |  |  |  | 19.38 | 6.1 | 16 | Cataract Surgery Only |  |  |  |  | 18.71 | 1.98 | 9
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout ≥26 | mmHg | m3 |  | iStent with Cataract Surgery |  |  |  |  | 16.25 | 2.77 | 16 | Cataract Surgery Only |  |  |  |  | 17.71 | 1.7 | 9
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout ≥26 | mmHg | m6 |  | iStent with Cataract Surgery |  |  |  |  | 15.81 | 2.29 | 16 | Cataract Surgery Only |  |  |  |  | 18.14 | 1.95 | 9
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout ≥26 | mmHg | m12 |  | iStent with Cataract Surgery |  |  |  |  | 16.63 | 2.16 | 16 | Cataract Surgery Only |  |  |  |  | 19.43 | 3.51 | 9
10 | 10304 | 2021 | Kozera | 2 | 평균안압 | IOP washout ≥26 | mmHg | m24 |  | iStent with Cataract Surgery |  |  |  |  | 17.06 | 2.43 | 16 | Cataract Surgery Only |  |  |  |  | 18.86 | 2.19 | 9
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥20% | % | m12 | IOP washout <26 | iStent with Cataract Surgery |  | 28 | 78.6 | 59.0, 97.1 |  |  |  | Cataract Surgery Only |  | 29 | 55.2 | 35.7, 73.6
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥30% | % | m12 |  | iStent with Cataract Surgery |  | 28 | 39.3 | 21.5, 59.4 |  |  |  | Cataract Surgery Only |  | 29 | 24.1 | 10.3, 43.5
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥40% | % | m12 |  | iStent with Cataract Surgery |  | 28 | 7.1 | 0.9, 23.5 |  |  |  | Cataract Surgery Only |  | 29 | 3.4 | 0.1, 17.8
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥50% | % | m12 |  | iStent with Cataract Surgery |  | 28 | 3.6 | 0.1, 18.3 |  |  |  | Cataract Surgery Only |  | 29 | 0 | 0, 11.9
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥20% | % | m24 |  | iStent with Cataract Surgery |  | 28 | 82.1 | 63.1, 93.9 |  |  |  | Cataract Surgery Only |  | 29 | 51.7 | 32.5, 70.6
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥30% | % | m24 |  | iStent with Cataract Surgery |  | 28 | 39.3 | 21.5, 59.4 |  |  |  | Cataract Surgery Only |  | 29 | 24.1 | 10.3, 43.5
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥40% | % | m24 |  | iStent with Cataract Surgery |  | 28 | 10.7 | 2.3, 28.2 |  |  |  | Cataract Surgery Only |  | 29 | 3.4 | 0.1, 17.8
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥50% | % | m24 |  | iStent with Cataract Surgery |  | 28 | 7.1 | 0.9, 23.50 |  |  |  | Cataract Surgery Only |  | 29 | 0 | 0, 11.9
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥20% | % | m12 | IOP washout ≥26 | iStent with Cataract Surgery |  | 16 | 100 | 79.4, 100 |  |  |  | Cataract Surgery Only |  | 7 | 85.7 | 42.1, 99.6
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥30% | % | m12 |  | iStent with Cataract Surgery |  | 16 | 81.3 | 54.4, 96 |  |  |  | Cataract Surgery Only |  | 7 | 42.9 | 9.9, 81.6
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥40% | % | m12 |  | iStent with Cataract Surgery |  | 16 | 43.8 | 19.8, 70.1 |  |  |  | Cataract Surgery Only |  | 7 | 0 | 0, 40.9
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥50% | % | m12 |  | iStent with Cataract Surgery |  | 16 | 6.3 | 0.2, 30.2 |  |  |  | Cataract Surgery Only |  | 7 | 0 | 0, 40.9
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥20% | % | m24 |  | iStent with Cataract Surgery |  | 16 | 93.8 | 69.8, 99.8 |  |  |  | Cataract Surgery Only |  | 7 | 81.7 | 42.1, 99.6
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥30% | % | m24 |  | iStent with Cataract Surgery |  | 16 | 75 | 47.6, 92.7 |  |  |  | Cataract Surgery Only |  | 7 | 57.1 | 18.4, 90.1
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥40% | % | m24 |  | iStent with Cataract Surgery |  | 16 | 25 | 7.3, 52.4 |  |  |  | Cataract Surgery Only |  | 7 | 0 | 0.0, 40.9
10 | 10304 | 2021 | Kozera | 2 | 수술성공율 | ≥50% | % | m24 |  | iStent with Cataract Surgery |  | 16 | 6.3 | 0.2, 30.2 |  |  |  | Cataract Surgery Only |  | 7 | 0 | 0.0, 40.9
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | pre | IOP washout <26 | iStent with Cataract Surgery |  |  |  |  | 1.32 | 0.55 | 28 | Cataract Surgery Only |  |  |  |  | 1.03 | 0.19 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | d1 |  | iStent with Cataract Surgery |  |  |  |  | 0.07 | 0.38 | 28 | Cataract Surgery Only |  |  |  |  | 0.03 | 0.19 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | d7 |  | iStent with Cataract Surgery |  |  |  |  | 0 | 0 | 28 | Cataract Surgery Only |  |  |  |  | 0.07 | 0.26 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | m1 |  | iStent with Cataract Surgery |  |  |  |  | 0 | 0 | 28 | Cataract Surgery Only |  |  |  |  | 0.14 | 0.35 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | m6 |  | iStent with Cataract Surgery |  |  |  |  | 0.07 | 0.26 | 28 | Cataract Surgery Only |  |  |  |  | 0.45 | 0.57 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | m12 |  | iStent with Cataract Surgery |  |  |  |  | 0.14 | 0.36 | 28 | Cataract Surgery Only |  |  |  |  | 0.62 | 0.56 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | m24 |  | iStent with Cataract Surgery |  |  |  |  | 0.32 | 0.55 | 28 | Cataract Surgery Only |  |  |  |  | 0.76 | 0.69 | 29
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | pre | IOP washout ≥26 | iStent with Cataract Surgery |  |  |  |  | 2.5 | 0.87 | 16 | Cataract Surgery Only |  |  |  |  | 1.86 | 0.69 | 7
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | d1 |  | iStent with Cataract Surgery |  |  |  |  | 0 | 0 | 16 | Cataract Surgery Only |  |  |  |  | 0.14 | 0.38 | 7
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | d7 |  | iStent with Cataract Surgery |  |  |  |  | 0.44 | 0.81 | 16 | Cataract Surgery Only |  |  |  |  | 0.29 | 0.49 | 7
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | m1 |  | iStent with Cataract Surgery |  |  |  |  | 0.63 | 0.89 | 16 | Cataract Surgery Only |  |  |  |  | 0.29 | 0.49 | 7
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | m6 |  | iStent with Cataract Surgery |  |  |  |  | 0.75 | 0.93 | 16 | Cataract Surgery Only |  |  |  |  | 0.71 | 0.49 | 7
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | m12 |  | iStent with Cataract Surgery |  |  |  |  | 0.88 | 1.02 | 16 | Cataract Surgery Only |  |  |  |  | 0.86 | 0.69 | 7
10 | 10304 | 2021 | Kozera | 2 | 평균약물 사용수 |  | 개수 | m24 |  | iStent with Cataract Surgery |  |  |  |  | 0.88 | 1.26 | 16 | Cataract Surgery Only |  |  |  |  | 1.29 | 0.76 | 7
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균안압 |  | mmHg | baseline |  | two stents and cataract surgery |  |  |  |  | 24.2 | 1.8 | 17 | Cataract Surgery Only |  |  |  |  | 23.6 | 1.5 | 16 | 0.18
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균안압 |  | mmHg | d1 |  | two stents and cataract surgery |  |  |  |  | 21.9 | 10.1 | 17 | Cataract Surgery Only |  |  |  |  | 26.4 | 8.1 | 16 | 0.08
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균안압 |  | mmHg | w1-2 |  | two stents and cataract surgery |  |  |  |  | 16.5 | 4.4 | 17 | Cataract Surgery Only |  |  |  |  | 18.2 | 4.2 | 16 | 0.28
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균안압 |  | mmHg | m1 |  | two stents and cataract surgery |  |  |  |  | 16.7 | 3.1 | 17 | Cataract Surgery Only |  |  |  |  | 18.9 | 1.4 | 16 | 0.01
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균안압 |  | mmHg | m3 |  | two stents and cataract surgery |  |  |  |  | 15.2 | 2.5 | 17 | Cataract Surgery Only |  |  |  |  | 18.6 | 3.4 | 16 | 0.009
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균안압 |  | mmHg | m6 |  | two stents and cataract surgery |  |  |  |  | 15.6 | 3.3 | 17 | Cataract Surgery Only |  |  |  |  | 19.6 | 4 | 16 | 0.02
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균안압 |  | mmHg | m12 |  | two stents and cataract surgery |  |  |  |  | 17.6 | 2.8 | 17 | Cataract Surgery Only |  |  |  |  | 19.8 | 2.3 | 16 | 0.04
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균약물 사용수 |  | 개수 | baseline |  | two stents and cataract surgery |  |  |  |  | 1.1 | 0.5 | 17 | Cataract Surgery Only |  |  |  |  | 1.2 | 0.7 | 16 | 0.66
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균약물 사용수 |  | 개수 | d1 |  | two stents and cataract surgery | [6 empty] | 17 | Cataract Surgery Only | [6 empty] | 16
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균약물 사용수 |  | 개수 | w1-2 |  | two stents and cataract surgery | [6 empty] | 17 | Cataract Surgery Only | [6 empty] | 16
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균약물 사용수 |  | 개수 | m1 |  | two stents and cataract surgery |  |  |  |  | 0.1 | 0.2 | 17 | Cataract Surgery Only |  |  |  |  | 0.1 | 0.3 | 16 | 0.51
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균약물 사용수 |  | 개수 | m3 |  | two stents and cataract surgery |  |  |  |  | 0.1 | 0.2 | 17 | Cataract Surgery Only |  |  |  |  | 0.3 | 0.5 | 16 | 0.06
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균약물 사용수 |  | 개수 | m6 |  | two stents and cataract surgery |  |  |  |  | 0.1 | 0.5 | 17 | Cataract Surgery Only |  |  |  |  | 0.5 | 0.7 | 16 | 0.03
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 평균약물 사용수 |  | 개수 | m12 |  | two stents and cataract surgery |  |  |  |  | 0 | 0 | 17 | Cataract Surgery Only |  |  |  |  | 0.7 | 1 | 16 | 0.007
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 안압변화량△ |  | mmHg | m1 |  | two stents and cataract surgery |  |  |  |  | 8.1 | 4 | 17 | Cataract Surgery Only |  |  |  |  | 4.5 | 2 | 16 | 0.04
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 안압변화량△ |  | mmHg | m3 |  | two stents and cataract surgery |  |  |  |  | 9.3 | 3.4 | 17 | Cataract Surgery Only |  |  |  |  | 5.1 | 3.1 | 16 | 0.009
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 안압변화량△ |  | mmHg | m6 |  | two stents and cataract surgery |  |  |  |  | 9.3 | 4.1 | 17 | Cataract Surgery Only |  |  |  |  | 4.3 | 3.1 | 16 | 0.015
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | 안압변화량△ |  | mmHg | m12 |  | two stents and cataract surgery |  |  |  |  | 6.6 | 3 | 17 | Cataract Surgery Only |  |  |  |  | 3.9 | 2.7 | 16 | 0.002
2 | 11096 | 2010 | Fea | 2 | 평균안압 |  | mmHg | baseline |  | iStent with Cataract Surgery |  |  |  |  | 17.9 | 2.6 | 12 | Cataract Surgery Only |  |  |  |  | 17.3 | 3 | 24 | 0.512
2 | 11096 | 2010 | Fea | 2 | 평균안압 |  | mmHg | m15 |  | iStent with Cataract Surgery |  |  |  |  | 14.8 | 1.2 | 12 | Cataract Surgery Only |  |  |  |  | 15.7 | 1.1 | 24 | 0.031
2 | 11096 | 2010 | Fea | 2 | 평균안압 |  | mmHg | m16 |  | iStent with Cataract Surgery |  |  |  |  | 16.6 | 3.1 | 12 | Cataract Surgery Only |  |  |  |  | 19.2 | 3.5 | 24 | 0.042
2 | 11096 | 2010 | Fea | 2 | 안압변화량△ |  | mmHg | m15 |  | iStent with Cataract Surgery |  |  |  |  | 3.2 | 3 | 12 | Cataract Surgery Only |  |  |  |  | 1.6 | 3.2 | 24 | 0.177
2 | 11096 | 2010 | Fea | 2 | 평균약물 사용수 |  | 개수 | baseline |  | iStent with Cataract Surgery |  |  |  |  | 2 | 0.9 | 12 | Cataract Surgery Only |  |  |  |  | 1.9 | 0.7 | 24
2 | 11096 | 2010 | Fea | 2 | 평균약물 사용수 |  | 개수 | m15 |  | iStent with Cataract Surgery |  |  |  |  | 0.4 | 0.7 | 12 | Cataract Surgery Only |  |  |  |  | 1.3 | 1 | 24 | 0.007
2 | 11096 | 2010 | Fea | 2 | 약물사용수 없는 비율 |  | % | m15 | did not require ocular hypotensive medication | iStent with Cataract Surgery | 8 | 12 | 67 |  |  |  |  | Cataract Surgery Only | 5 | 24 | 24 |  |  |  |  | 0.027
6 | 10814 | 2015 | Fea | 2 | 평균안압 |  | mmHg | baseline |  | iStent with Cataract Surgery |  |  |  |  | 17.8 | 2.7 | 10 | Cataract Surgery Only |  |  |  |  | 16.7 | 3 | 14
6 | 10814 | 2015 | Fea | 2 | 평균안압 |  | mmHg | m12 | washout | iStent with Cataract Surgery |  |  |  |  | 16.1 | 2 | 10 | Cataract Surgery Only |  |  |  |  | 18.4 | 3.1 | 14 | 0.05
6 | 10814 | 2015 | Fea | 2 | 평균안압 |  | mmHg | m48 | washout | iStent with Cataract Surgery |  |  |  |  | 17.5 | 2.3 | 10 | Cataract Surgery Only |  |  |  |  | 20.4 | 3.2 | 14 | 0.04
6 | 10814 | 2015 | Fea | 2 | 평균약물 사용수 |  | 개수 | baseline |  | iStent with Cataract Surgery |  |  |  |  | 1.9 | 0.9 | 10 | Cataract Surgery Only |  |  |  |  | 1.8 | 0.7 | 14 | NS
6 | 10814 | 2015 | Fea | 2 | 평균약물 사용수 |  | 개수 | m12 |  | iStent with Cataract Surgery |  |  |  |  | 0.4 | 0.7 | 10 | Cataract Surgery Only |  |  |  |  | 1 | 1 | 14 | NS
6 | 10814 | 2015 | Fea | 2 | 평균약물 사용수 |  | 개수 | m48 |  | iStent with Cataract Surgery |  |  |  |  | 0.5 | 0.8 | 10 | Cataract Surgery Only |  |  |  |  | 0.9 | 1 | 14 | NS
Note on E1: user: 1=약물군 2=백내장 수술 단독

## 2_안전성
연번 | Ref. ID | Year | 제1저자 | 대조군 | 안전성 결과지표 |  |  |  |  | 중재군 결과 |  |  |  | 대조군 결과 |  |  |  | P-value | Difference (95% CI) | 비고
|  |  |  | 구분 | 분류 | 상세 | 결과측정시점 | 측정단위 | 비고 | 중재군명 | 이분형 |  |  | 대조군명 | 이분형
[11 empty] | n | Total | % |  | n | Total | %
7 | 10976 | 2016 | Vold | 1 | Ocular AE | hyphema | during m36 | 명 | intraoperative: resolved by day 1 | 2-Stent group | 1 | 54 |  | topical prostaglandin | 0 | 47
7 | 10976 | 2016 | Vold | 1 | complication | small iridodialysis | during m36 | 명 | Ocular AE-intraoperative: | 2-Stent group | 1 | 54 |  | topical prostaglandin | 0 | 47
7 | 10976 | 2016 | Vold | 1 | BCVA | 20/200 or better | pre | % |  | 2-Stent group |  | 54 | 100 | topical prostaglandin |  | 47 | 100
7 | 10976 | 2016 | Vold | 1 | BCVA | 20/200 or better | m36 | % |  | 2-Stent group |  | 39 | 100 | topical prostaglandin |  | 34 | 100
7 | 10976 | 2016 | Vold | 1 | BCVA | 20/100 or better | pre | % |  | 2-Stent group |  | 54 | 96 | topical prostaglandin |  | 47 | 100
7 | 10976 | 2016 | Vold | 1 | BCVA | 20/100 or better | m36 | % |  | 2-Stent group |  | 39 | 90 | topical prostaglandin |  | 34 | 88
7 | 10976 | 2016 | Vold | 1 | BCVA | 20/40 or better | pre | % |  | 2-Stent group |  | 54 | 74 | topical prostaglandin |  | 47 | 83
7 | 10976 | 2016 | Vold | 1 | BCVA | 20/40 or better | m36 | % |  | 2-Stent group |  | 39 | 77 | topical prostaglandin |  | 34 | 74
8 | 10450 | 2019 | Fechtner | 1 | Ocular AE | hyphema | during m60 | 명 | intraoperative | 2-Stent group | 1 | 54 | 2 | topical prostaglandin | 0 | 47 | N/A |  |  | #10976과 동일
8 | 10450 | 2019 | Fechtner | 1 | Ocular AE | iridodialysis | during m60 | 명 | intraoperative | 2-Stent group | 1 | 54 | 2 | topical prostaglandin | 0 | 47 | N/A |  |  | #10976과 동일
8 | 10450 | 2019 | Fechtner | 1 | Ocular AE | Cataract progression | during m60 | 명 | post-treatment | 2-Stent group | 16 | 54 | 30 | topical prostaglandin | 15 | 47 | 32
8 | 10450 | 2019 | Fechtner | 1 | Ocular AE | Conjunctival hyperemia | during m60 | 명 | post-treatment | 2-Stent group | 0 | 54 | 0 | topical prostaglandin | 1 | 47 | 2
8 | 10450 | 2019 | Fechtner | 1 | secondary surgical intervention | Secondary glaucoma surgery | during m60 | 명 | post-treatment | 2-Stent group | 0 | 54 | 0 | topical prostaglandin | 0 | 47 | 0
8 | 10450 | 2019 | Fechtner | 1 | secondary surgical intervention | Cataract surgery | during m60 | 명 | post-treatment | 2-Stent group | 16 | 54 | 30 | topical prostaglandin | 9 | 47 | 19
8 | 10450 | 2019 | Fechtner | 1 | Ocular AE | Death (unrelated to study) | during m60 | 명 | post-treatment | 2-Stent group | 2 | 54 | 4 | topical prostaglandin | 1 | 47 | 2
8 | 10450 | 2019 | Fechtner | 1 | BCVA | 20/200 or better | pre | 명 |  | 2-Stent group |  | 54 | 100 | topical prostaglandin |  | 47 | 100
8 | 10450 | 2019 | Fechtner | 1 | BCVA | 20/200 or better | m60 | 명 |  | 2-Stent group |  | 35 | 100 | topical prostaglandin |  | 32 | 100
8 | 10450 | 2019 | Fechtner | 1 | BCVA | 20/100 or better | pre | 명 |  | 2-Stent group |  | 54 | 96 | topical prostaglandin |  | 47 | 100
8 | 10450 | 2019 | Fechtner | 1 | BCVA | 20/100 or better | m60 | 명 |  | 2-Stent group |  | 35 | 96 | topical prostaglandin |  | 32 | 95
8 | 10450 | 2019 | Fechtner | 1 | BCVA | 20/40 or better | pre | 명 |  | 2-Stent group |  | 54 | 74 | topical prostaglandin |  | 47 | 83
8 | 10450 | 2019 | Fechtner | 1 | BCVA | 20/40 or better | m60 | 명 |  | 2-Stent group |  | 35 | 80 | topical prostaglandin |  | 32 | 76
5 | 11171 | 2014 | Fea | 1 | BCVA | 20/40 or better | pre | % |  | Two iStent inject |  |  | 84 | latanoprost/timolol |  |  | 87
5 | 11171 | 2014 | Fea | 1 | BCVA | 20/40 or better | m12 | % |  | Two iStent inject |  |  | 79 | latanoprost/timolol |  |  | 84
5 | 11171 | 2014 | Fea | 1 | adverse event | Eye burning |  | 명 | Ocular adverse events and other postoperative observations | Two iStent inject | 0 | 94 | 0 | latanoprost/timolol | 1 | 98 | 1
5 | 11171 | 2014 | Fea | 1 | adverse event | IOP decompensation | ~m12 | 명 |  | Two iStent inject | 1 | 94 | 1 | latanoprost/timolol | 0 | 98 | 0
5 | 11171 | 2014 | Fea | 1 | adverse event | Medication allergy |  | 명 |  | Two iStent inject | 0 | 94 | 0 | latanoprost/timolol | 1 | 98 | 1
5 | 11171 | 2014 | Fea | 1 | secondary surgical intervention | One stent not visible (treated with Nd:YAG laser) | ~m12 | 명 |  | Two iStent inject | 1 | 94 | 1 | latanoprost/timolol | 0 | 98 | 0
5 | 11171 | 2014 | Fea | 1 | adverse event | Soreness/discomfort |  | 명 |  | Two iStent inject | 1 | 94 | 1 | latanoprost/timolol | 0 | 98 | 0
3 | 11199 | 2011 | Samuelson | 2 | complication | Anticipated early postoperative event | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 14 | 111 | 13 | Cataract Surgery Only | 15 | 122 | 12
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Stent obstruction by iris, vitreous, fibrous overgrowth, fibrin, blood, and so forth | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 4 | 111 | 4 | Cataract Surgery Only | 0 | 122 | 0 |  |  | resolved within several weeks after subsequent surgery
3 | 11199 | 2011 | Samuelson | 2 | complication | Posterior capsular opacification | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 3 | 111 | 3 | Cataract Surgery Only | 8 | 122 | 7
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Stent malposition | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 3 | 111 | 3 | Cataract Surgery Only | 0 | 122 | 0
3 | 11199 | 2011 | Samuelson | 2 | complication | Subconjunctival hemorrhage | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 2 | 111 | 2 | Cataract Surgery Only | 2 | 122 | 2
3 | 11199 | 2011 | Samuelson | 2 | complication | Elevated IOP, other | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 2 | 111 | 2 | Cataract Surgery Only | 1 | 122 | 1
3 | 11199 | 2011 | Samuelson | 2 | complication | Epiretinal membrane | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 2 | 111 | 2 | Cataract Surgery Only | 1 | 122 | 1
3 | 11199 | 2011 | Samuelson | 2 | complication | Iris atrophy | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 2 | 111 | 2 | Cataract Surgery Only | 0 | 122 | 0
3 | 11199 | 2011 | Samuelson | 2 | complication | Blurry vision or visual disturbance | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 1 | 111 | 1 | Cataract Surgery Only | 6 | 122 | 5
3 | 11199 | 2011 | Samuelson | 2 | complication | Iritis | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 1 | 111 | 1 | Cataract Surgery Only | 6 | 122 | 5
3 | 11199 | 2011 | Samuelson | 2 | complication | Dry eye | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 1 | 111 | 1 | Cataract Surgery Only | 2 | 122 | 2
3 | 11199 | 2011 | Samuelson | 2 | complication | Elevated IOP requiring treatment with oral or intravenous medications or with surgical intervention | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 1 | 111 | 1 | Cataract Surgery Only | 2 | 122 | 2
3 | 11199 | 2011 | Samuelson | 2 | complication | Macular edema | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 1 | 111 | 1 | Cataract Surgery Only | 2 | 122 | 2
3 | 11199 | 2011 | Samuelson | 2 | complication | Foreign body sensation | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 0 | 111 | 0 | Cataract Surgery Only | 3 | 122 | 2
3 | 11199 | 2011 | Samuelson | 2 | complication | Allergic conjunctivitis | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 0 | 111 | 0 | Cataract Surgery Only | 2 | 122 | 2
3 | 11199 | 2011 | Samuelson | 2 | complication | Mild pain | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 0 | 111 | 0 | Cataract Surgery Only | 2 | 122 | 2
3 | 11199 | 2011 | Samuelson | 2 | complication | Rebound inflammation from tapering steroids | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 0 | 111 | 0 | Cataract Surgery Only | 2 | 122 | 2
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Paracentesis | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 31 | 111 | 28 | Cataract Surgery Only | 33 | 122 | 27
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Nd:YAG laser capsulotomy | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 4 | 111 | 4 | Cataract Surgery Only | 7 | 122 | 6
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Stent repositioning | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 3 | 111 | 3 | Cataract Surgery Only | 0 | 122 | 0 |  |  | stent related
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Punctal cautery/punctual plugs | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 1 | 111 | 1 | Cataract Surgery Only | 2 | 122 | 2
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Focal argon laser photocoagulation | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 1 | 111 | 1 | Cataract Surgery Only | 0 | 122 | 0
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Nd:YAG laser for stent obstruction | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 1 | 111 | 1 | Cataract Surgery Only | 0 | 122 | 0 |  |  | stent related
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Stent removal and replacement | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 1 | 111 | 1 | Cataract Surgery Only | 0 | 122 | 0 |  |  | stent related
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Trabeculoplasty | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 0 | 111 | 0 | Cataract Surgery Only | 2 | 122 | 2
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Deep sclerectomy/sclerostomy | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 0 | 111 | 0 | Cataract Surgery Only | 1 | 122 | 1
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | IOL removal and replacement | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 0 | 111 | 0 | Cataract Surgery Only | 1 | 122 | 1
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | LASIK | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 0 | 111 | 0 | Cataract Surgery Only | 1 | 122 | 1
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Pupilloplasty | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 0 | 111 | 0 | Cataract Surgery Only | 1 | 122 | 1
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Vitrectomy | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 0 | 111 | 0 | Cataract Surgery Only | 1 | 122 | 1
3 | 11199 | 2011 | Samuelson | 2 | secondary surgical intervention | Wound resuture due to wound leak | through m12 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 0 | 111 | 0 | Cataract Surgery Only | 1 | 122 | 1
3 | 11199 | 2011 | Samuelson | 2 | BCVA | 20/40 or better | pre | % |  | iStent with Cataract Surgery | 49 |  | 45 | Cataract Surgery Only | 53 |  | 44
3 | 11199 | 2011 | Samuelson | 2 | BCVA | 20/40 or better | m12 | % |  | iStent with Cataract Surgery | 99 |  | 94 | Cataract Surgery Only | 101 |  | 90
4 | 9960 | 2012 | Craven | 2 | BCVA | 20/40 or better | m24 | % |  | iStent with Cataract Surgery |  |  | 93 | Cataract Surgery Only |  |  | 91
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Cataract surgery-Vitreous removal/vitrectomy | through m24 | 명 | intraoperative | iStent with Cataract Surgery | 5 | 116 | 4.3 | Cataract Surgery Only | 3 | 117 | 2.6
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Cataract surgery-IOP removal and replacement (torn IOL haptic) | through m24 | 명 | intraoperative | iStent with Cataract Surgery | 0 | 116 | 0 | Cataract Surgery Only | 1 | 117 | 0.9
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Stent implantation-Intraoperative stent removal and replacement | through m24 | 명 | intraoperative | iStent with Cataract Surgery | 1 | 116 | 0.9 | Cataract Surgery Only | NA | 117 | NA
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Stent implantation-Stent malposition | through m24 | 명 | intraoperative | iStent with Cataract Surgery | 1 | 116 | 0.9 | Cataract Surgery Only | NA | 117 | NA
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Stent implantation-Iris touch | through m24 | 명 | intraoperative | iStent with Cataract Surgery | 7 | 116 | 6 | Cataract Surgery Only | NA | 117 | NA
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Stent implantation-Endothelial touch | through m24 | 명 | intraoperative | iStent with Cataract Surgery | 1 | 116 | 0.9 | Cataract Surgery Only | NA | 117 | NA
4 | 9960 | 2012 | Craven | 2 | complication | Anticipated early postoperative event | through m24 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 20 | 116 | 17.2 | Cataract Surgery Only | 22 | 117 | 18.8
4 | 9960 | 2012 | Craven | 2 | complication | Posterior capsule opacification | through m24 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 7 | 116 | 6 | Cataract Surgery Only | 12 | 117 | 10.3
4 | 9960 | 2012 | Craven | 2 | complication | Elevated IOP–other | through m24 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 4 | 116 | 3.4 | Cataract Surgery Only | 5 | 117 | 4.3
4 | 9960 | 2012 | Craven | 2 | complication | Elevated IOP requiring treatment with oral or intravenous medications or with surgical intervention | through m24 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 1 | 116 | 0.9 | Cataract Surgery Only | 3 | 117 | 2.6
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Stent obstruction | through m24 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 5 | 116 | 4.3 | Cataract Surgery Only | NA | 117 | NA
4 | 9960 | 2012 | Craven | 2 | complication | Blurry vision or visual disturbance | through m24 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 4 | 116 | 3.4 | Cataract Surgery Only | 8 | 117 | 6.8
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Stent malposition | through m24 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 3 | 116 | 2.6 | Cataract Surgery Only | NA | 117 | NA
4 | 9960 | 2012 | Craven | 2 | complication | Iritis | through m24 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 1 | 116 | 0.9 | Cataract Surgery Only | 6 | 117 | 5.1
4 | 9960 | 2012 | Craven | 2 | complication | Conjunctival irritation due to hypotensive medication | through m24 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 1 | 116 | 0.9 | Cataract Surgery Only | 3 | 117 | 2.6
4 | 9960 | 2012 | Craven | 2 | complication | Disc hemorrhage | through m24 | 명 | Postoperative Ocular | iStent with Cataract Surgery | 1 | 116 | 0.9 | Cataract Surgery Only | 3 | 117 | 2.6
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Stent repositioning | through m24 | 명 |  | iStent with Cataract Surgery | 3 | 116 | 2.6 | Cataract Surgery Only | NA | 117 | NA
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Stent removal and replacement | through m24 | 명 |  | iStent with Cataract Surgery | 1 | 116 | 0.9 | Cataract Surgery Only | NA | 117 | NA
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Nd:YAG laser for stent obstruction | through m24 | 명 |  | iStent with Cataract Surgery | 1 | 116 | 0.9 | Cataract Surgery Only | NA | 117 | NA
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Trabeculoplasty | through m24 | 명 |  | iStent with Cataract Surgery | 1 | 116 | 0.9 | Cataract Surgery Only | 2 | 117 | 1.7
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Focal argon laser photocoagulation | through m24 | 명 |  | iStent with Cataract Surgery | 1 | 116 | 0.9 | Cataract Surgery Only | 0 | 117 | NA
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Deep sclerectomy/sclerostomy | through m24 | 명 |  | iStent with Cataract Surgery | 0 | 116 | NA | Cataract Surgery Only | 1 | 117 | 0.9
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | IOL removal and replacement | through m24 | 명 |  | iStent with Cataract Surgery | 0 | 116 | NA | Cataract Surgery Only | 1 | 117 | 0.9
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | LASIK | through m24 | 명 |  | iStent with Cataract Surgery | 0 | 116 | NA | Cataract Surgery Only | 1 | 117 | 0.9
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Pupilloplasty | through m24 | 명 |  | iStent with Cataract Surgery | 0 | 116 | NA | Cataract Surgery Only | 1 | 117 | 0.9
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Vitrectomy | through m24 | 명 |  | iStent with Cataract Surgery | 0 | 116 | NA | Cataract Surgery Only | 1 | 117 | 0.9
4 | 9960 | 2012 | Craven | 2 | secondary surgical intervention | Wound resuture due to wound leak | through m24 | 명 |  | iStent with Cataract Surgery | 0 | 116 | NA | Cataract Surgery Only | 1 | 117 | 0.9
9 | 11182 | 2019 | Samuelson | 2 | BCVA | 20/40 or better | m24 | % |  | iStent inject with Cataract Surgery |  |  | 98.9 | Cataract Surgery Only |  |  | 98.2
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Ocular surface disease |  | 명 |  | iStent inject with Cataract Surgery | 62 | 386 | 16.1 | Cataract Surgery Only | 20 | 119 | 16.8 |  | -0.7 (-8.6, 1.7)
9 | 11182 | 2019 | Samuelson | 2 | secondary surgical intervention | Stent obstruction, partial or complete, regardless of how long the obstruction is present | through m24 | 명 |  | iStent inject with Cataract Surgery | 24 | 386 | 6.2 | Cataract Surgery Only | NA | 119
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Any intraocular inflammation (not preexisting) remaining or arising after the protocol’s specified medication regimen is complete |  | 명 |  | iStent inject with Cataract Surgery | 22 | 386 | 5.7 | Cataract Surgery Only | 5 | 119 | 4.2 |  | 1.5 (-2.8, 5.8)
9 | 11182 | 2019 | Samuelson | 2 | secondary surgical intervention | Secondary surgical intervention | through m24 | 명 |  | iStent inject with Cataract Surgery | 21 | 386 | 5.4 | Cataract Surgery Only | 6 | 119 | 5 |  | -0.4 (-4.2, 5.0)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Ocular allergies |  | 명 |  | iStent inject with Cataract Surgery | 11 | 386 | 2.8 | Cataract Surgery Only | 4 | 119 | 3.4 |  | -0.5 (-4.2, 3.1)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Loss of BSCVA of 2 lines ( 10 letters on ETDRS chart) at or after 3 mos postoperatively |  | 명 |  | iStent inject with Cataract Surgery | 10 | 386 | 2.6 | Cataract Surgery Only | 5 | 119 | 4.2 |  | -1.6 (-5.6, 2.3)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Posterior vitreous detachment |  | 명 |  | iStent inject with Cataract Surgery | 10 | 386 | 2.6 | Cataract Surgery Only | 5 | 119 | 4.2 |  | -1.6 (-5.6, 2.3)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Foreign body sensation |  | 명 |  | iStent inject with Cataract Surgery | 9 | 386 | 2.3 | Cataract Surgery Only | 0 | 119 | 0 |  | 2.3 (0.8, 3.8)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Blurred vision/visual disturbance | through m24 | 명 |  | iStent inject with Cataract Surgery | 9 | 386 | 2.3 | Cataract Surgery Only | 2 | 119 | 1.7 |  | 0.7 (-2.1, 3.4)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Extraocular inflammation |  | 명 |  | iStent inject with Cataract Surgery | 9 | 386 | 2.3 | Cataract Surgery Only | 2 | 119 | 1.7 |  | 0.7 (-2.1, 3.4)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Epiretinal membrane |  | 명 |  | iStent inject with Cataract Surgery | 9 | 386 | 2.3 | Cataract Surgery Only | 3 | 119 | 2.5 |  | -0.2 (-3.4, 3.0)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | IOP increase ≥10 mmHg vs. baseline IOP occurring at month ≥1 | ~m24 | 명 |  | iStent inject with Cataract Surgery | 8 | 386 | 2.1 | Cataract Surgery Only | 1 | 119 | 0.8 |  | 1.2 (-0.9, 3.4)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Perioperative ocular pain within 14 days of surgery |  | 명 |  | iStent inject with Cataract Surgery | 8 | 386 | 2.1 | Cataract Surgery Only | 1 | 119 | 0.8 |  | 1.2 (-0.9, 3.4)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Vitreous floaters |  | 명 |  | iStent inject with Cataract Surgery | 8 | 386 | 2.1 | Cataract Surgery Only | 3 | 119 | 2.5 |  | -0.4 (-3.6, 2.7)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Corneal abrasion |  | 명 |  | iStent inject with Cataract Surgery | 8 | 386 | 2.1 | Cataract Surgery Only | 4 | 119 | 3.4 |  | -1.3 (-4.8, 2.3)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Corneal opacity |  | 명 |  | iStent inject with Cataract Surgery | 4 | 386 | 1 | Cataract Surgery Only | 3 | 119 | 2.5 |  | -1.5 (-4.5, 1.5)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Hyperemia |  | 명 |  | iStent inject with Cataract Surgery | 3 | 386 | 0.8 | Cataract Surgery Only | 7 | 119 | 5.9 |  | -5.1 (-9.4, -0.8)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | Nonproliferative diabetic retinopathy |  | 명 |  | iStent inject with Cataract Surgery | 2 | 386 | 0.5 | Cataract Surgery Only | 3 | 119 | 2.5 |  | -2.0 (-4.9, 0.9)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | IOP increase requiring management with oral or intravenous medications or with surgical intervention at month ≥1 | ~m24 | 명 |  | iStent inject with Cataract Surgery | 1 | 386 | 0.3 | Cataract Surgery Only | 3 | 119 | 2.5 |  | -2.3 (-5.1, 0.6)
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | The mean percent change in endothelial cell density (ECD) | baseline~m24 | % |  | iStent inject with Cataract Surgery |  |  |  | Cataract Surgery Only | [5 empty] | '-13.1% (SD, 12.4; 95% CI, -14.4 to -11.8) for the treatment group and -12.3% (SD, 12.7%; 95% CI, -14.8 to -9.8) for the control group
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | percentage of eyes with an ECL >30% | m24 | % |  | iStent inject with Cataract Surgery |  |  | 10.4 | Cataract Surgery Only |  |  | 9.5
9 | 11182 | 2019 | Samuelson | 2 | Ocular AE | most substantial decline in ECD | m3 | % |  | iStent inject with Cataract Surgery |  |  | 12.5 | Cataract Surgery Only |  |  | 11.6 |  |  | the rate of decline was minimal thereafter
11 | 11515 | 2021 | Singh | 2 | adverse event |  |  |  |  | iStent inject with Cataract Surgery |  |  |  | Cataract Surgery Only | [5 empty] | There were no unanticipated adverse events and no cases of significant inflammatory responses, myopic shift, choroidal hemorrhage or effusion, hypotony, stent dislocation or migration, significant hyphema, corneal decompensation, shallow anterior chamber, cyclodialysis, or endophthalmitis.
10 | 10304 | 2021 | Kozera | 2 | complications |  | during 24m |  |  | iStent with Cataract Surgery |  | 44 |  | Cataract Surgery Only |  | 36 |  |  |  | There were no significant differences in the safety profile between the 2 groups nor subgroups. No significant intraoperative complications were noted after iStent implantation with cataract surgery.
10 | 10304 | 2021 | Kozera | 2 | postoperative | microhyphema | during 24m | 명 | spontaneously resolved within a week of surgery without sequelae | iStent with Cataract Surgery | 5 | 44 | 11.3636 | Cataract Surgery Only |  | 36
10 | 10304 | 2021 | Kozera | 2 | postoperative | subconjunctival hemorrhage | during 24m | 명 |  | iStent with Cataract Surgery | 1 | 44 | 2.2727 | Cataract Surgery Only |  | 36
10 | 10304 | 2021 | Kozera | 2 | secondary surgical intervention | posterior capsular opacification treated with Nd:YAG capsulotomy | during 24m | 명 | unrelated to iStent implantation | iStent with Cataract Surgery | 5 | 44 |  | Cataract Surgery Only |  | 36
10 | 10304 | 2021 | Kozera | 2 | secondary surgical intervention | additional glaucoma surgery | during 24m | 명 |  | iStent with Cataract Surgery | NA | 44 |  | Cataract Surgery Only | NA | 36
10 | 10304 | 2021 | Kozera | 2 | postoperative | corneal edema related to an increase in IOP | during 24m | 명 | resolved within 1 week | iStent with Cataract Surgery |  | 44 |  | Cataract Surgery Only | 1 | 36 | 2.7778
10 | 10304 | 2021 | Kozera | 2 | postoperative complications | Viral corneal inflammation | during 24m | 명 | resolving within 1 month with no visual complications | iStent with Cataract Surgery |  | 44 |  | Cataract Surgery Only | 1 | 36
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | secondary surgical intervention | malposition of the stents | ~12m | 개수 |  | two stents and cataract surgery |  | 17 | 18 | Cataract Surgery Only |  | 16 |  |  |  | No further complication occurred during the follow-up for these malpositioned stents.
1 | 10459 | 2010 | Ferna´ndez-Barrientos | 2 | secondary surgical intervention | selective trabeculoplasty | ~12m |  | who did not reach their target IOP | two stents and cataract surgery |  | 17 |  | Cataract Surgery Only | 1 | 16
2 | 11096 | 2010 | Fea | 2 | adverse event |  |  |  |  | iStent with Cataract Surgery |  |  |  | Cataract Surgery Only | [5 empty] | there were no reported adverse events related to stent implantation.
| 11096 | 2010 | Fea | 2 |  | ruptured capsule |  |  |  | iStent with Cataract Surgery |  |  |  | Cataract Surgery Only | 1 | 24
2 | 11096 | 2010 | Fea | 2 | secondary surgical intervention | malpositioned | ~15m |  |  | iStent with Cataract Surgery | 2 | 12 |  | Cataract Surgery Only |  | 24
6 | 10814 | 2015 | Fea | 2 | [5 empty] | iStent with Cataract Surgery |  |  |  | Cataract Surgery Only | [5 empty] | No postoperative stent-related adverse events were observed no secondary surgical intervention was required to control IOP.
6 | 10814 | 2015 | Fea | 2 | secondary surgical intervention |  | ~48m |  |  | iStent with Cataract Surgery | NA | 12 |  | Cataract Surgery Only | NA | 24 |  |  |  | no secondary surgical intervention was required to control IOP.
Note on E1: user: 1=약물군 2=백내장 수술 단독

## 3_경제성
연번 | Ref. ID | Year | 제1저자 | 비용단위 | 할인율 | 중재군 |  |  | 대조군 |  |  | 비용-효용 비용-효과 | 임계값 | 결론 | 비고
[6 empty] | 중재군명 | Cost | Effect (QALYs) | 대조군명 | Cost | Effect (QALYs)
iStent vs. medication
15 | 10188 | 2019 | Ordonez | 미국 달러 |  | iStent+Timolol | 22018777 | 2226612 | Lasesr selective trabeculoplasty+Timolol+Dorzolamida | 35272096 | 2098641 | –$104/QALY | any availability value to pay | · 비용효과적임 · 지불 의향 곡선(willingness to pay curve)에서 스텐트 삽입술은 지불할 가용성 가치와 함께 선택 전략이 될 확률이 100% | 콜롬비아 페소(pesso)를 달러로 환율: a mean exchange rate of COP 3000 for USD 1.
[6 empty] | iStent+Timolol | 22018777 | 2226612 | Latanoprost+Timolol+Dorzolamide | 44329841 | 1848325 | –$59/QALY
[6 empty] | iStent+Timolol | 22018777 | 2226612 | Bimatoprost+Timolol+Dorzolamide | 51174890 | 1848325 | –$77/QALY
[6 empty] | iStent+Timolol | 22018777 | 2226612 | Travoprost+Timolol+Dorzolamide | 56135683 | 1848325 | –$90/QALY
22 | 11139 | 2021 | Guedes | 브라질 달러 |  | iStent inject | R$19,856.98 | 7.82 | medical treatment | R$8,564.02 | 6.33 | R$7,550.97/PFLY | R$94,761 per PFLY | · iStent inject®는 녹내장의 진행률을 감소시키며, 안약, 여과수술 및 합병증 치료와 관련된 미래비용도 감소하였음 · ICER값은 R$ 6,429.3-7,550.97/PFLY · iStent inject는 1차 요법 실패 후 수용 가능한 비용으로 녹내장 진행을 감소시키는 전략임 | progression-free life-years (PFLY)
16 | 10192 | 2019 | Patel | 캐나다 달러 |  | two iStent/ iStent Inject alone | 9394.1 | 9.239 | Medication alone | 12302.4 | 9.171 | –C$938,161.3/QALY | 모든 값 | · 모든 지불의사값에서 비용효과적임 (all willingness-to-pay (WTP) thresholds)
istent inject or two stent vs. medication
24 | 10200 | 2022 | Healey | 호주 달러 |  | iStent/iStent Inject + cataract surgery | 7946 | 6.5095 | cataract surgery | 7770 | 6.4369 | A$2430/QALY | A$50,000 per QALY | · 수용가능한 임계값을 기준으로 POAG환자에서 iStent삽입술은 비용-효과적인 중재였음 | $A46,400 ?? An increase in $A10,000 from a mean incremental cost per QALY of $A46,400 reduced the probability of listing by 0.06 (95% CI 0.04 to 0.1).
| 10200 | 2022 | Healey | 호주 달러 |  | iStent/iStent Inject | 6594 | 7.339 | medical management | 4360 | 7.1864 | A$14644/QALY | A$50,000 per QALY
iStent+cataract surgery vs. cataract surgery
18 | 10072 | 2020 | Bartelt-Hofer | 유로 |  | iStent 1개 + cataract surgery | 4179.83 | 9.73 | cataract surgery | 4103.28 | 9.72 | 15673.41 | 1 GDP per capita in the country (€43,433.87) | · 두 개의 stent로 수술받은 군에서 장기적으로 비용-효용이 있는 대안이었음 · 또한, 질병전이 모형에서 advanced 질병상태에 비해 중등도 개방각 녹내장 환자에서 조기 치료가 좀더 이점을 가지고 있음 | moderate POAG
| 10072 | 2020 | Bartelt-Hofer | 유로 |  | iStent 2개 + cataract surgery | 4240.53 | 9.74 | cataract surgery | 4103.28 | 9.72 | 10955.2 |  |  | moderate POAG
17 | 9923 | 2020 | Ahmed | 캐나다 달러 |  | iStent Inject + cataract surgery | 21384.1 | 9.428 | cataract surgery | 21773.1 | 9.405 | -C$16,691/QALY | C$50,000/QALY | · 백내장 수술 중 iStent Inject를 함께 이식하는 것은 백내장 수술 단독에 비해 경증에서 중등도의 OAG 환자에서 안압을 줄이는 데 비용 효과적임 | incremental cost-utility ratio
19 | 10184 | 2021 | Nieland | 유로 |  | iStent Inject + cataract surgery | 13949 | 11.05 | cataract surgery | 13874 | 10.98 | 1154/QALY | €30,000 per QALY | · 안압을 낮추는데 iStent inject+백내장 수술 중재는백내장 단독 수술에 비해 비용-효과적인 대안이였음
20 | 10187 | 2021 | Teus | 유로 |  | iStent Inject + cataract surgery | 13344.05 | 12.36 | cataract surgery | 12293.86 | 12.27 | 12,676.48/QALY | €30,000/QALY | · iStent Inject와 백내장 수술은 백내장 수술 단독에 비해 비용 효과적이며 비용 절감 대안임
21 | 10201 | 2021 | Fea | 유로 |  | iStent Inject + cataract surgery | 8368.51 | 11.114 | cataract surgery | 7134.71 | 11.019 | €13,037/QALY | €50,000 per QALY | · iStent Inject와 백내장 수술은 백내장 수술 단독에 비해 경증 및 중등도 POAG 환자에서 비용 효과적이였음
23 | 10190 | 2021 | Sood | 미국 달러 |  | iStent Inject + cataract surgery | 49599.86 | 12.21 | cataract surgery | 54409.25 | 12.04 | -28290.5294 | 50,000/QALY | · 비용 효과적이였음

## 3_1_경제성
연번 | Ref. ID | Year | 제1저자 | 비용단위 | 비용분석방법 | 결과
12 | 11148 | 2014 | Iordanous | 캐나다 달러 |  | 누적비용 | 2 iStents | medication |  |  | 누적 비용차이(약물-iStent삽입술)
[5 empty] | 분석방법: 누적비용산출 |  |  | monodrug | bidrug | tridrug | monodrug | bidrug | tridrug
[5 empty] | 비용: 직접비용 산출 | 1년 | 1044 | 170.54 | 386.09 | 528.12 | -873.46 | -657.91 | -515.88
[5 empty] | - 약물비용(온타리오주 처방기준), 약물 처방비용, 처방빈도 | 2년 | 1044 | 314.08 | 772.18 | 1056.24 | -702.92 | -271.82 | 12.24
[5 empty] | - iStent비용: 현지 업체 | 3년 | 1044 | 511.61 | 1158.28 | 1584.36 | -532.39 | 114.28 | 540.36
[5 empty] | -수술비용(일회용품 포함) | 4년 | 1044 | 682.15 | 1544.37 | 2112.48 | -361.85 | 500.37 | 1068.48
[5 empty] | -각 장치의 start-up비용, surgeons'fee 는 제외 | 5년 | 1044 | 852.69 | 1930.46 | 2640.6 | -191.31 | 886.46 | 1596.6
[6 empty] | 6년 | 1044 | 1023.23 | 2316.55 | 3168.71 | -20.77 | 1272.55 | 2142.71
결론
iStent삽입술은 약물비용에 비해 약간의 비용절감(modest cost savings)을 제공
삶의 질, 환자에 대한 직접, 간접비용에 대한 추가 분석이 필요함
13 | 10181 | 2017 | Berdahl | 미국 달러 | 분석방법: 마콥모형 | 누적비용 | 2 iStents | medication | SLT | 비용절감액
[5 empty] | 비용: 직접비용 산출 |  |  |  |  | 약물-iStent 삽입술 | SLT-iStent
[5 empty] | -녹내장 관련 약물 | 0년(시작) | 2810.27 | 996.29 | 841.9
[5 empty] | -시술비용 | 1년 | 3027.7 | 2061.66 | 1532.51
[5 empty] | -치료된 눈의 합병증 | 2년 | 3318.17 | 3117.08 | 2272.77
[6 empty] | 3년 | 3661.2 | 4161.5 | 3055.75
[6 empty] | 4년 | 4018.93 | 5194.92 | 3869.65
[6 empty] | 5년 | 4420.92 | 6217.08 | 4729.85 | 1796.16 | 308.93
결론
스텐트 삽입술이 평균 1796.70/환자당 비용 절감
[6 empty] | 309.47/환자당 |  | 군간 거의 유사
두 개 스텐트삽입술은 약물사용에 있어 장기적으로 직접적인 비용절감(direct savings)을 이룸
14 | 10176 | 2018 | Ngan | 뉴질랜드 달러 | 분석방법: 비용최소화분석 | 약물군 | 약물비용 | iStent 1200뉴질랜드 달러와와 동등 연도 | 약물군 | 약물비용 | iStent 1200뉴질랜드 달러와와 동등 연도
[5 empty] | 비용: 직접비용 산출 | Prostaglandin analogues and prostamides | 140.51 | 8.54 | Prostaglandin analogues and prostamides | 140.51 | 8.54
[5 empty] | -약물비용: 2016년 뉴질랜드 제약관리청(Pharmaceutical Management Agency (Pharmac)) | Bimatoprost 0.03% (Bimatoprost Actavis) | 74.2 | 16.17 | Beta-blockers | 99.75 | 12.03
[5 empty] | -iStent비용: 1200달러(현지 유통업체 비용) | Latanaprost 0.005% (Hysite) | 42.98 | 27.92 | Beta-blocker compound preparations | 180.56 | 6.65
[5 empty] | -점안액과 동등해지는 연도(손익익분기점, breaken level)=iStent 시술비용(procedure cost)/연간 점안액비용 | Travoprost 0.004% (Travatan) | 304.34 | 3.94 | Sympathomimetics | 83.93 | 14.3
[6 empty] | Beta-blockers | 99.75 | 12.03 | Carbonic anhydrase inhibitors | 163.06 | 7.36
[6 empty] | Betaxolol 0.25% (Betoptic S) | 192.54 | 6.23 | Miotics | 201.07 | 5.97
[6 empty] | Betaxolol 0.5% (Betoptic) | 130.1 | 9.22 | 전체 | 144.81 | 8.29
[6 empty] | Levobunolol 0.25% (Betagan) | 122.84 | 9.77
[6 empty] | Levobunolol 0.5% (Betagan) | 122.84 | 9.77
[6 empty] | Timolol 0.25% (Arrow-Timolol) | 42.25 | 28.4
[6 empty] | Timolol 0.5% (Arrow-Timolol) | 42.25 | 28.4
[6 empty] | Timoptol-XE 0.25% | 69.12 | 17.36
[6 empty] | Timoptol-XE 0.5% | 76.09 | 15.77
[6 empty] | Beta-blocker compound preparations | 180.56 | 6.65
[6 empty] | Brimonidine tartrate 0.2% + timolol 0.5% (Combigan) | 289.82 | 4.14
[6 empty] | Dorzolamide 2% + timolol 0.5% (Arrow-Dortim) | 71.29 | 16.83
[6 empty] | Sympathomimetics | 83.93 | 14.3
[6 empty] | Brimonidine tartrate 0.2% (Arrow-Brimonidine) | 83.93 | 14.3
[6 empty] | Carbonic anhydrase inhibitors | 163.06 | 7.36
[6 empty] | Brinzolamide 1% (Azopt) | 163.06 | 7.36
[6 empty] | Miotics | 201.07 | 5.97
[6 empty] | Pilocarpine hydrochloride 0.5% (Isopto Carpine) | 83.06 | 14.45
[6 empty] | Pilocarpine hydrochloride 1% (Isopto Carpine) | 98.88 | 12.14
[6 empty] | Pilocarpine hydrochloride 2% (Isopto Carpine) | 137.21 | 8.75
[6 empty] | Pilocarpine nitrate 2% (Minims Pilocarpine Nitrate) | 485.11 | 2.47
[6 empty] | 전체 | 144.81 | 8.29
결론
연간 안약비용과 iStent 비용을 비교하면 5년 이내 19개 약물 중 3개(15.8%), 10년 이내 9개(47.3%), 15년 이내 12개(63.2%)의 약물비용과 동등해짐
iStent삽입술은 백내장 수술을 받는 녹내장 환자에서 더 비싼 (more expensive) 국소 녹내장 약물을 사용하는 환자에게 비용-효과적인 치료법으로 여겨짐